## Sheet1
Electrical Underground Structures and Appurtenances
| Contract # CC-0116-19 | Vendor Name:
GROUP I (Equipment & Installation)
| DESCRIPTION | UNIT | MAX | BID | UNIT COST | TOTAL COST
1 | PERFORMANCE BOND AND PAYMENT BOND | L.S. | n/a | L.S.
2 | OWNER'S AND CONTRACTOR'S PROTECTIVE LIABILITY INSURANCE | L.S. | n/a | L.S.
3 | CONSTRUCTION SIGNS | SF | 1000 | 200
4 | DRUM | UNIT | 100 | 10
5 | FLASHING ARROW BOARD, 4' X 8' | UNIT | 4 | 2
6 | TRAFFIC CONE | UNIT | 200 | 50
7 | TRAFFIC DIRECTOR, FLAGGER | M.H. | 200 | 32
8 | POLICE TRAFFIC DIRECTOR | $ | n/a | $ | 20000 | 20000
9 | CONCRETE SIDEWALK, 4" THICK | S.Y. | 500 | 20
10 | 9" X 20" CONCRETE VERTICAL CURB | LF | 200 | 50
11 | MISCELLANEOUS CONCRETE | CY | 100 | 20
12 | 1.5" RIGID METALLIC CONDUIT | L.F. | 2500 | 100
13 | 1.5" RIGID METALLIC CONDUIT STUB | L.F. | 500 | 20
14 | 2.0" RIGID METALLIC CONDUIT | L.F. | 2500 | 500
15 | 3.0" RIGID METALLIC CONDUIT, TYPE CUG | L.F. | 400 | 100
16 | 3.0" RIGID METALLIC CONDUIT, TYPE CUR-OPEN CUT | L.F. | 1500 | 500
17 | 3.0" RIGID METALLIC CONDUIT, TYPE CUR-JACKED | L.F. | 1000 | 500
18 | 1.5" RIGID NONMETALLIC CONDUIT | L.F. | 2500 | 500
19 | 4" RIGID NONMETALLIC CONDUIT, TYPE CUG | L.F. | 1000 | 500
20 | 4" RIGID NONMETALLIC CONDUIT, TYPE CUR | L.F. | 2500 | 500
21 | FOUNDATION, TYPE SPF FOR TBJ-6 BASE | UNIT | 10 | 4
22 | FOUNDATION, TYPE SFT | UNIT | 12 | 4
23 | FOUNDATION, TYPE SFK | UNIT | 5 | 2
24 | FOUNDATION, TYPE STF | UNIT | 4 | 2
25 | FOUNDATION, TYPE MCF | UNIT | 10 | 4
26 | FOUNDATION, TYPE PMC | UNIT | 12 | 4
27 | 24" x 36" JUNCTION BOX, TYPE JB-SC | UNIT | 15 | 5
28 | 17" x 30" JUNCTION BOX, TYPE JB-SC | UNIT | 50 | 10
29 | 24" x 36" JUNCTION BOX | UNIT | 2 | 1
30 | LOOP DETECTOR | L.F. | 3000 | 1000
31 | LOOP DETECTOR CABLE | L.F. | 4000 | 1000
32 | FOUNDATION REMOVAL | UNIT | 10 | 2
33 | METER CABINET, TYPE T | UNIT | 10 | 4
34 | METER CABINET, TYPE T-54 | UNIT | 10 | 4
35 | SERVICE WIRE, NO 6 AWG | L.F. | 1000 | 300
36 | GROUND WIRE, NO 6 AWG | L.F. | 1000 | 300
37 | TRAFFIC SIGNAL CABLE, 2 CONDUCTOR | L.F. | 5000 | 1000
38 | TRAFFIC SIGNAL CABLE, 5 CONDUCTOR | L.F. | 5000 | 1000
39 | TRAFFIC SIGNAL CABLE, 10 CONDUCTOR | L.F. | 5000 | 1000
40 | DETECTABLE WARNING SURFACE | SY | 20 | 5
41 | JOURNEYMAN ELECTRICIAN | M.H. | 480 | 40
42 | HEAVY CONSTRUCTION LABORER | M.H. | 480 | 40
43 | AERIAL LIFT TRUCK, 700 LB CAPACITY | DAY | 10 | 1
44 | AERIAL MAN LIFT TRUCK, 300LB CAPACITY | DAY | 10 | 1
45 | RECTANGULAR RAPID FLASHING BEACON SYSTEM | UNIT | 6 | 2
| TOTAL GROUP I |  |  |  |  | 20000
| GROUP I Percent (%) Discount from list for hardware and material. This item will not be included in the bid total for comparison, but will be used to provide for unspecified hardware and material, i.e. fiber optic couplings, connectors, splices, conduits, racks, etc. |  |  |  | %
GROUP II (Equipment only)
| DESCRIPTION | UNIT | MAX | BID | UNIT COST | TOTAL COST
1 | TRAFFIC SIGNAL HEAD, 12" POLYCARBONATE RYG LED | UNIT | 30 | 5
2 | TRAFFIC SIGNAL HEAD, 8" POLYCARBONATE RYG LED | UNIT | 30 | 5
3 | TRAFFIC SIGNAL HEAD SECTION, 12" LED COMBINATION ARROW | UNIT | 20 | 5
4 | PEDESTRIAN SIGNAL HEAD, SYMBOL MESSAGE LED COUNT DOWN | UNIT | 120 | 10
5 | PUSH BUTTON (MECHANICAL) | UNIT | 24 | 8
6 | PUSH BUTTON - BULLDOG 3 | UNIT | 24 | 4
7 | PUSH BUTTON, TYPE AAPS, PB STATION | UNIT | 24 | 4
8 | PUSH BUTTON, TYPE AAPS, COMPLETE SYSTEM (2-WAY) | UNIT | 4 | 1
9 | LOAD SWITCH, NEMA, 25AMP | UNIT | 50 | 20
10 | FLASHER 2 CIRCUIT NEMA | UNIT | 20 | 10
11 | FLASH TRANSFER RELAY | UNIT | 40 | 10
12 | TRUSS ARM HANGER | UNIT | 50 | 20
13 | POST TOP SLIP FITTER, 4" | UNIT | 20 | 10
14 | 2-WAY BRACKET, HOLLOW TUBE, TOP | UNIT | 20 | 8
15 | 2-WAY BRACKET, HOLLOW TUBE, BOTTOM | UNIT | 10 | 4
16 | 2-WAY BRACKET, T-BAR | UNIT | 10 | 8
17 | 3-WAY IN-LINE HOLLOW TUBE ASSEMBLY TOP AND BOTTOM | UNIT | 10 | 4
18 | C-1 BRACKET ASSEMBLY , 6" NIPPLE, FOR T-POLE, TOP AND BOTTOM | UNIT | 24 | 12
19 | W-1 BRACKET ASSEMBLY, 12" NIPPLE, FOR T-POLE, TOP AND BOTTOM | UNIT | 24 | 12
20 | C-1 BRACKET ASSEMBLY, 6" NIPPLE, FOR K-POLE, TOP AND BOTTOM | UNIT | 12 | 8
21 | W-1 BRACKET ASSEMBLY, 12" NIPPLE, FOR K-POLE, TOP AND BOTTOM | UNIT | 12 | 8
22 | TRANSFORMER BASE, TYPE TB-2C | UNIT | 20 | 10
23 | TRANSFORMER BASE TYPE M81 | UNIT | 10 | 4
24 | TRAFFIC SIGNAL STANDARD TYPE T | UNIT | 10 | 2
25 | TRAFFIC SIGNAL STANDARD TYPE C | UNIT | 10 | 2
26 | TRAFFIC SIGNAL STANDARD TYPE K | UNIT | 4 | 2
27 | PEDESTAL POLE TYPE TBJ-6, 8' | UNIT | 10 | 2
28 | PEDESTAL POLE TYPE TBJ-6, 10' | UNIT | 20 | 8
29 | PEDESTAL POLE TYPE TBJ-6, 12' | UNIT | 4 | 2
30 | ECONOLITE 8 PHASE NEMA TS-1/TS-2 CONTROLLER MODEL ASC/3-2100 | UNIT | 10 | 5
31 | NEMA 12-CHANNEL CONFLICT MONITOR TS-1 WITH LOGGING | UNIT | 10 | 10
32 | CABINET, METER, TYPE T, SHEET ALUMINUM | UNIT | 8 | 4
33 | CABINET, METER, TYPE T-54, SHEET ALUMINUM | UNIT | 8 | 4
34 | CONTROL ASSEMBLY, COMPLETE, TYPE M CABINET | UNIT | 4 | 1
35 | CONTROL ASSEMBLY, COMPLETE, TYPE P CABINET, UPS TYPE 1 | UNIT | 4 | 2
36 | CONTROL ASSEMBLY, COMPLETE, TYPE P CABINET, UPS TYPE 2 | UNIT | 4 | 2
37 | POLE CAP, T-POLE | UNIT | 10 | 4
38 | POLE CAP, K-POLE | UNIT | 6 | 2
39 | POLE CAP, PEDESTAL POLE | UNIT | 6 | 1
40 | 12" LED RED SIGNAL FACE | UNIT | 120 | 12
41 | 12" LED YELLOW SIGNAL FACE | UNIT | 120 | 12
42 | 12" LED GREEN SIGNAL FACE | UNIT | 120 | 12
43 | 12" LED COMBINATION TURN ARROW SIGNAL FACE | UNIT | 120 | 12
44 | 12" LED RED ARROW SIGNAL FACE | UNIT | 120 | 4
45 | 12" LED YELLOW ARROW SIGNAL FACE | UNIT | 120 | 4
46 | 12" LED GREEN ARROW SIGNAL FACE | UNIT | 120 | 4
47 | 8" LED RED SIGNAL FACE | UNIT | 120 | 12
48 | 8" LED YELLOW SIGNAL FACE | UNIT | 120 | 12
49 | 16" LED PEDESTRIAN COUNTDOWN MODULE | UNIT | 120 | 4
50 | 8" LED GREEN SIGNAL FACE | UNIT | 120 | 12
51 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 15M | UNIT | 10 | 2
52 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 20M | UNIT | 10 | 2
53 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 15MK | UNIT | 5 | 1
54 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 20MK | UNIT | 10 | 2
55 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 25MK | UNIT | 10 | 2
56 | TRAFFIC SIGNAL MAST ARM, ALUMINUM, TYPE 30MK | UNIT | 5 | 1
57 | LIGHTING ASSEMBLY, BOUND BROOK DECORATIVE, 10' POLE | UNIT | 3 | 1
58 | LIGHTING ASSEMBLY, BOUND BROOK DECORATIVE, 12' POLE | UNIT | 2 | 1
59 | LUMINAIRE, BOUND BROOK DECORATIVE | UNIT | 5 | 1
60 | SERVICE WIRE, NO 6 AWG, 1000' SPOOL | 1,000 LF | 2 | 1
61 | GROUND WIRE, NO 6 AWG, 1000' SPOOL | 1,000 LF | 2 | 1
62 | TRAFFIC SIGNAL CABLE, 2 CONDUCTOR, 1000' SPOOL | 1,000 LF | 3 | 1
63 | TRAFFIC SIGNAL CABLE, 5 CONDUCTOR, 1000' SPOOL | 1,000 LF | 5 | 1
64 | TRAFFIC SIGNAL CABLE, 10 CONDUCTOR, 1000' SPOOL | 1,000 LF | 2 | 1
| TOTAL GROUP II |  |  |  |  | 0
| GROUP II Percent (%) Discount from list for hardware and material. This item will not be included in the bid total for comparison, but will be used to provide for unspecified hardware and material, i.e. fiber optic couplings, connectors, splices, conduits, racks, etc. |  |  |  | %
GROUP III (Equipment Only)
| DESCRIPTION | UNIT | MAX | BID | UNIT COST | TOTAL COST
1 | IMAGE DETECTION SYSTEM PACKAGE, 1 DETECTOR | unit | 4 | 1
2 | IMAGE DETECTION SYSTEM PACKAGE, 2 DETECTOR | unit | 4 | 1
3 | IMAGE DETECTION SYSTEM PACKAGE, 3 DETECTOR | unit | 4 | 1
4 | IMAGE DETECTION SYSTEM PACKAGE, 4 DETECTOR | unit | 4 | 1
5 | IMAGE DETECTOR | unit | 8 | 1
6 | IMAGE DETECTOR CABLE, 3 CONDUCTOR | L.F. | 2000 | 500
7 | GPS TIME REFERENCE UNIT | unit | 16 | 4
8 | LOOP DETECTOR, 4 CHANNEL | unit | 16 | 1
9 | LOOP DETECTOR, 2 CHANNEL, DELAYED CALL | unit | 8 | 1
10 | UPS SYSTEM, ECONOLITE MODEL DBL 700 | unit | 15 | 1
11 | UPS SYSTEM, ECONOLITE MODEL DBL 1400 | unit | 10 | 1
12 | ONE WAY RADAR DETECTIONSYSTEM | unit | 2 | 1
13 | RADAR DETECTOR | unit | 2 | 1
14 | AUTOSCOPE TIP | unit | 5 | 2
15 | AUTOSCOPE TAP | unit | 5 | 2
16 | VENTED SUB-BASE UNIT | unit | 5 | 2
17 | REPLACEMENT BATTERY 55AH | unit | 100 | 40
18 | REPLACEMENT BATTERY 100AH | unit | 18 | 9
19 | FLIR CAMARA | unit | 4 | 1
20 | TECHNICAL SERVICES | HOUR | 40 | 1
| TOTAL GROUP III |  |  |  |  | 0
| GROUP III Percent (%) Discount from list for hardware and material. This item will not be included in the bid total for comparison, but will be used to provide for unspecified hardware and material, i.e. fiber optic couplings, connectors, splices, conduits, racks, etc. |  |  |  | %
GROUP IV (Equipment Only)
| DESCRIPTION | UNIT | MAX | BID | UNIT COST | TOTAL COST
1 | 24 HOUR FLASHING BEACON, 12" RED, SOLAR POWERED | unit | 10 | 2
2 | 24 HOUR FLASHING BEACON, 12" YELLOW, SOLAR POWERED | unit | 10 | 2
3 | 24 HOUR FLASHING BEACON, 12" YELLOW, SOLAR POWERED, WITH ON/OFF SWITCH | unit | 10 | 2
4 | PEDESTRIAN ACTIVATED FLASHING BEACON, 12" YELLOW, SOLAR POWERED | Unit | 10 | 2
| TOTAL GROUP IV |  |  |  |  | 0
| GROUP IV Percent (%) Discount from list for hardware and material. This item will not be included in the bid total for comparison, but will be used to provide for unspecified hardware and material, i.e. fiber optic couplings, connectors, splices, conduits, racks, etc. |  |  |  | %